Questionnaire for ventilation systems for welding industry

1. Contact details

| Company name: | Phone: |
| --- | --- |
| Contact person: | E-mail: |
| Address: |
| Name of workshop: |

2. Task description

( Equipment selection for replacement in an existing ventilation system

( Equipment selection for local exhaust system with discharging purified air into the atmosphere

( Equipment selection for local exhaust system with the return of purified air into the workshop

( Selection of supply and exhaust filter system Push-Pull

( Selection of supply and exhaust filter system Diluter

3. Technological process

| Welding method: | Semiautomatic | Manual | Automatic or other |
| --- | --- | --- | --- |
| Number of welding stations: |  |  |  |
| Type of welding consumables: |  |  |  |
| Consumption, kg/h |  |  |  |
| Welded metal grade: |  |  |  |
| Welding current, Amperage (A): |  |  |  |
| Simultaneous operation ratio of welders: |  |  |  |
| Shifts number (1 / 2 / 3) |  |  |  |
| Metal contamination: | ( None | ( protective oil | ( paint |
|  | ( Fill-in-the-blank: |
| Height where welding can be carried out, meters: |  |
| Power supply voltage in the workshop, V: | ( 230 | ( 400 | ( Fill-in-the-blank: |
| Compressed air existence: | ( Pressure 5-6 bar, purity class 2-3 according to ISO 8573-1 |
|  | ( Fill-in-the-blank: |

4. Workshop parameters

| Workshop size, meters. | (length * width * height) |
| --- | --- |
| Overhead cranes (beams) existence and height to crane runway, meters: |  |
| Possible duct height, meters.: |  |

5. Welded parts parameters

| Product type |  |
| --- | --- |
| Maximum dimensions of welded parts | (length * width * height) |
| Welding conditions: | ( inside the product | ( outside the product |

6. In case of existing ventilation system:

| General ventilation | Supply | Exhaust |
| --- | --- | --- |
| Type of system and fan, number of fans (pcs.) |  |  |
| Volume flow, m3/h |  |  |
| Power, kW |  |  |

| Local exhaust ventilation |
| --- |
| Type of equipped machinery * |  |
| Fan type, number of fans (pcs.) |  |
| Volume flow, m3/h |  |
| Power, kW |  |

* Specify data for each position separately if there are several

Please attach to the questionnaire an architectural and construction plan or a sketch of the workshop that indicates:

- Location of welding posts;

- preferred places for mounting exhaust devices, ducts, filters and fans (in accordance with your tasks);

Filled out questionnaires to be sent to info@sovplym.in

We will be glad to help you with filling out the questionnaire.

Contact us at: +91-7875657764 (Phone + WhatsApp)